## slow control
vmmsc |  |  |  |  | firmware
functions FECConfigModule | port name | port number | port HEX | channel map | module | port name | vhdl module | comment
Connect() | fec_port | 6007 | 0x1777 | 0xFFFFFFFF | sys |  | gen_reg_cfg2 | gen_reg_syscfg
ResetFEC()
ReadSystemRegisters()
writeFECip() | fec_sys_port | 6023 | 0x1787 | 0xFFFFFFFF | sys | PORT_GEN_I2C | gen_i2c_cfgrw2 | B_I2C
writeDAQip()
| not used | 6024 | 0x1788 |  | sys | PORT_GEN_I2C | gen_i2c_cfgrw2 | A_I2C
SetTriggerAcqConstants | vmmapp_port | 6600 | 0x19C8 | irrelevant, FEC settings | app | APPREG_PORT | gen_reg_cfg2
CheckLinkStatus
ACQon
ACQoff
SetMask
ConfigTP | s6_port | 6602 | 0x19CA | 1 bit per HDMI (8 bit) | app | VMM3H_PORT | vmm3h_sc
SetS6clocks
SendConfig | vmmasic_port | 6603 | 0x19CB | 1 bit per VMM (16 bit) | app | VMM3CFG_PORT | vmm3cfg_sc | VMM config
CommunicateWithHybridI2C | i2c_port | 6004 | 0x19CC | 1 bit per HDMI (8 bit) | app | HDI2C_PORT | vmm3_i2c_cfgrw | i2c0_scl, i2c0_sda
ReadIDChip
ReadGeoPos
ReadADC
Emphasis/Pre-emphasis | not used | 6001 | 0x19C9 |  | app | CCI2C_PORT | ccard_i2c_cfg | i2c1_scl, i2c1_sda
init, read from 0x1787, write to 0x1777

## VMM3a settings
ADDR | ADDR (hex) | Type | example | sc string position (left most position is 0) | bits | description | VMM3a docu name
0 | 0 | global SPI 0 / VMM3: global bank 2 | 00000000
|  |  |  | [0,30] | [31,1] | not used | nu
|  |  |  | [31] | [0] | magic number on BCID | nskipm_i
1 | 1 | global SPI 1 / VMM3: global bank 2 | 00000000
|  |  |  | [0] | [31] | clocks when L0 core disabled | sL0cktest
|  |  |  | [1] | [30] | invert DCK | sL0dckinv
|  |  |  | [2] | [29] | invert BCCLK | sL0ckinv
|  |  |  | [3] | [28] | L0 core | sL0ena
|  |  |  | [4,9] | [27,22] | Max hits per L0 | truncate
|  |  |  | [10,16] | [21,15] | L0 triggers to skip on overflow | nskip
|  |  |  | [17,19] | [14,12] | size trigger window | window
|  |  |  | [20,31] | [11,0] | Channel tagging BC rollover | rollover
2 | 2 | global SPI 2 / VMM3: global bank 2 | 00000000
|  |  |  | [0,11] | [31,20] | L0 BC offset | l0offset
|  |  |  | [12,23] | [19,8] | Channel tagging BC offset | offset
|  |  |  | [24,31] | [7,0] | not used | nu
3 to 66 |  | VMM channel 0 - 63 | 00000000
|  |  |  | [0,7] | [31,24] | not used
|  |  |  | [8] | [23] | SC | sc
|  |  |  | [9] | [22] | SL | sl
|  |  |  | [10] | [21] | test pulse | st
|  |  |  | [11] | [20] | STH | sth
|  |  |  | [12] | [19] | masking | sm
|  |  |  | [13] | [18] | SMX | smx
|  |  |  | [14,18] | [17,13] | trim | sd | reversed
|  |  |  | [19,23] | [12,8] | 10 bit adc lsb | ADC0_10 | reversed
|  |  |  | [24,27] | [7,4] | 8 bit adc lsb | ADC0_8 | reversed
|  |  |  | [28,30] | [3,1] | 6 bit adc lsb | ADC0_6 | reversed
|  |  |  | [31] | [0] | not used | nu
67 | 43 | global SPI 0 / VMM3: global bank 1 | 00000000
|  |  |  | [0,3] | [31,18] | reserved
|  |  |  | [4] | [27] | direct output IOs | slvs
|  |  |  | [5] | [26] | skips ch 16-47 | s32
|  |  |  | [6] | [25] | auto-reset at end ramp | stcr
|  |  |  | [7] | [24] | ART flag synchronization | ssart
|  |  |  | [8] | [23] | fast recovery from high charge | srec
|  |  |  | [9] | [22] | mild tail cancellation | stlc
|  |  |  | [10] | [21] | bipolar shape | sbip
|  |  |  | [11] | [20] | timing ramp at threshold | srat
|  |  |  | [12] | [19] | fast reset at 6-b completion | sfrst
|  |  |  | [13] | [18] | slvs 100 Ohm termination on ckbc | slvsbc
|  |  |  | [14] | [17] | slvs 100 Ohm termination on cktp | slvstp
|  |  |  | [15] | [16] | slvs 100 Ohm termination on cktk | slvstk
|  |  |  | [16] | [15] | slvs 100 Ohm termination on ckdt | slvsdt
|  |  |  | [17] | [14] | slvs 100 Ohm termination on ckart | slvsart
|  |  |  | [18] | [13] | slvs 100 Ohm termination on cktki | slvstki
|  |  |  | [19] | [12] | slvs 100 Ohm termination on ckena | slvsena
|  |  |  | [20] | [11] | slvs 100 Ohm termination on ck6bslvs 100 Ohm termination on ck6b | slvs6b
|  |  |  | [21] | [10] | mixed signal functions | sL0enaV
|  |  |  | [22,29] | [9,2] | not used | nu
|  |  |  | [30] | [1] | reset 1 | reset1
|  |  |  | [31] | [0] | reset 2 | reset2
68 | 44 | global SPI 1 / VMM3: global bank 1 | 292c0140
|  |  | lowest 6 bits of 330: 001010 | [0,5] | [31,26] | threshold DAC lowest 6 bits | sdt
|  |  | 300: 0100101100 | [6,15] | [25,16] | pulse DAC | sdp_2
|  |  |  | [16,17] | [15,14] | 10bit ADC | convtime_10
|  |  |  | [18,19] | [13,12] | 8bit ADC | convtime_8
|  |  |  | [20,22] | [11,9] | 6bit | convtime_6
|  |  | 1 | [23] | [8] | 8-bit enable | s8b
|  |  |  | [24] | [7] | 6-bit enable | s6b
|  |  | 1 | [25] | [6] | ADC enable | s10b
|  |  |  | [26] | [5] | dual clock serialized | sdcks
|  |  |  | [27] | [4] | dual clock ART | sdcka
|  |  |  | [28] | [3] | dual clock 6-bit | sdck6b
|  |  |  | [29] | [2] | analog tri-states | sdrv
|  |  |  | [30] | [1] | timing out 2 | stpp
|  |  |  | [31] | [0] | reserved
bit 0 left - bit 31 right
69 | 45 | global SPI 2 / VMM3: global bank 1 | 0020dc15
|  |  |  | [0] | [31] | polarity, sp | sp
|  |  |  | [1] | [30] | disable at peak, sdp | sdp
|  |  |  | [2] | [29] | analog monitor to pdo, sbmx | sbmx
|  |  |  | [3] | [28] | tdo buffer | sbft
|  |  |  | [4] | [27] | pdo buffer | sbfp
|  |  |  | [5] | [26] | mo buffer | sbfm
|  |  |  | [6] | [25] | leakage current | slg
|  |  |  | [7,12] | [24,19] | channel to monitor | monitoring
|  |  |  | [13] | [18] | multiplexer | scmx
|  |  |  | [14] | [17] | ART enable | sfa
|  |  |  | [15] | [16] | ART mode | sfam
|  |  | 3 | [16,17] | [15,14] | peak_time | peaktime
|  |  |  | [18] | [13] | double leakage (doubles the leakage current) | sfm
|  |  | 7 | [19,21] | [12,10] | gain | gain
|  |  |  | [22] | [9] | neighbor trigger | sng
|  |  |  | [23] | [8] | direct outputs settings | stot
|  |  |  | [24] | [7] | direct timing | sttt
|  |  |  | [25] | [6] | sub-hysteresis | ssh
|  |  | 1 | [26,27] | [5,4] | TAC slope adjustment | stc
|  |  | highest 4 bits of 330 | [28,31] | [3,0] | threshold DAC highest 4 bits | sdt